[image: image1.png]Volltonfarbe(ganz links) 100 Magenta/50 Schwarz

100% 7%

%% 90% 7% 8% B1% TB% 75% T2% 9% 66% 63% 60% ST% 5% S1% 48%

& M
§ R
§ BERG
4§ BNRREE
§ AR
§ R
§ i
§ maay

0% s oux Mm% 8% S% 4 3% 2% 1%




How to use the color scale
We use the color scale(below picture) to record the color intensity of test and control lines for our R&D, Production dept. QC dept. If we don’t use the color scale, we are hard to record the color intensity correctly between batch to batch and between person to person and so on.
[image: image4.jpg]mmmmmmmmmmm



 
 The color intensity of the test line was compared with % of lines of the above color scale.

[image: image2.jpg]



** If we get above positive result (Test line), we compare the color intensity of the Test line with the color scale.

We concluded that the color intensity of above Test line matches to 69% on the color scale and we record the color intensity as 69%.

[image: image3.jpg]



The color intensity of the above Test line is 14% of the color scale.
<= Color Scale








